## Training Matrix
Skills and Training Matrix
Roles7 - (Refer to the Skills and Training Guideline in the VESI for Descriptions of roles)
60 |  | 0 | Lineworker |  | Cable Jointer |  | Electrical Fitter |  | Tester |  | HV Switching Operator |  |  |  | Auditor |  |  | Communictions Worker | [5 empty] | Plant Operator |  | Rigger |  |  |  |  | Vegetation
|  | Qualification / Competency Standard Unit (CSU) number | Distribution | Transmission | Cable Jointer (Restricted)11 | Cable Jointer | Distribution Substations | Terminal & Zone Substations | Distribution Assets | Terminal & Zone Substations | Distribution | Terminal & Zone Substations | Metering Technician | Asset Inspector | General | Underground | Civil Worker | HV/LV Enclosures | Pole work | Tower | Underground work | Electrical Inspector | No Go Zone Assessor | ESI worker | Day hire | General | Towers | Supervisor / Team leader | Technical officer | Trade assistant | Cutter working from EWP | Ground Crew | Tree Climber | Employee Name | Employee Name | Employee Name
| Qualifications | [32 empty] | Date Attended | Date Attended | Date Attended
Qualifications | Certificate II in Asset Inspection1 | 22109VIC | [11 empty] | M
| Certificate II in ESI - Powerline Vegetation Control1 | UET20312 | [28 empty] | M |  | M
| Certificate III in ESI - Power Systems - Distribution Overhead 1 | UET30612 | M | [7 empty] | A9 | A9 | [10 empty] | A
| Certificate III in ESI - Power Systems - Transmission Overhead 1 | UET30512 |  | M
| Certificate III in ESI - Power Systems - Distribution Cable Jointing 1 | UET30812 |  |  |  | M |  |  |  |  | A9 | A9 | [10 empty] | A
| Certificate III in Electrotechnology Electrician1 | UEE30811 |  |  |  |  | M | M |  |  | A9 | A9 | M | [8 empty] | M | A
| Certificate IV in ESI - Power Systems Substations 1 | UET40512 | [8 empty] | A9 | A9
| Advanced Diploma of ESI - Power Systems1 | UET60212 | [6 empty] | M | M | A9 | A9
| Standard (AMI) Electrical Meter Installation | 22001VIC
Industry recognised course | LV Cable Jointing Certificate2 |  |  |  | M12
Electrical Licensing / Registration
Licence / Registration | Licenced Electrical Inspector | [20 empty] | M
| Licenced Electrical Worker | [5 empty] | A | A |  |  |  |  | A
| Victorian Lineworker Registration |  | M | M
Initial training
Initial training | Apply ESI safety rules, codes of practice and procedures for work on or near electrical apparatus (Green Book / Blue book)8 | UETTDRRF01B | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
| Work safely in the construction industry (White card) or equivalent | CPCCOHS1001A | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M
| Working safely near live electrical apparatus as a non electrical worker | UETTDREL14A | [15 empty] | A | M | M | M
| VEDN Installation of Underground Electrical Infrastructure | [14 empty] | M | A4 | [6 empty] | A4
| VEDN Auditor training | [14 empty] | M
Frequency | Training8
1 Year | Attached Climbing for Tower Work |  | A | M | [15 empty] | M | [5 empty] | A | M
1 Year | Cable pit / trench / excavation Rescue | UETTDRRF07B |  |  |  | M
1 Year | CPR12 | HLTAID001 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
1 Year | EWP Controlled Descent Escape | UETTDRRF08B | M | M | A | A | A | A | A | A | M | [7 empty] | M | [6 empty] | A | A |  |  |  | M
1 Year | EWP Rescue | UETTDRRF03B | M | M | A | A | A | A | A | A | M | [7 empty] | M | [6 empty] | A | A |  |  |  | M
1 Year | First Aid in an ESI environment12 | UETTDRRF10B | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
1 Year | HV Live Work Pole Replacement for PERU Operators | [22 empty] | A14
1 Year | Live LV Panel Rescue | UETTDRRF06B |  |  |  | M | A | A | M | M
1 Year | Maintain energised HV distribution overhead electrical apparatus (glove) | UETTDRDP14A | A
1 Year | Maintain energised HV distribution overhead electrical apparatus (stick) | UETTDRDP13A | A | A
1 Year | Maintain energised transmission lines using high voltage live work Barehand method | UETTDRTP32A |  | A
1 Year | Maintain energised transmission lines using high voltage live work stick method | UETTDRTP31A |  | A
1 Year | Pole Top Rescue | UETTDRRF02B | M |  | A | A |  |  | A |  | M
1 Year | Safe Approach Distances |  | M | M | M | M | M | M | M | M | M | M | M | M | A | M | M |  |  |  |  | M |  | M |  | M | M | A |  | M | M10 |  | M10
1 Year | Switchyard structures at Heights Rescue | UETTDRRF05B |  |  |  |  | A | M |  | A
1 Year | Testing of connections to low voltage electricity networks (Servicing Procedures) | UETTDRRF11A | M |  |  | M | [6 empty] | M13 | [8 empty] | M
1 Year | Tower Rescue | UETTDRRF04B | A | M | [15 empty] | M | [5 empty] | A | M
1 Year | Undertake release and rescue from a tree near live electrical apparatus | UETTDRVC34A | [30 empty] | M
3 Yearly | Confined spaces |  |  |  | A | A | A | A | A
3 Yearly | Live Low Voltage Work - Cable Jointing |  |  |  |  | M
3 Yearly | Live Low Voltage Work - Overhead |  | M
3 Yearly | Live Low Voltage Work - Ground level | [5 empty] | A | A | A | A
3 Yearly | Making LV Dead |  | M |  |  | A16 |  |  |  |  | A
3 Yearly | Manual Handling |  | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M |  | M |  | M | M | A |  | M | M | M | M
3 Yearly | Measuring Conductor Heights Using Telescopic Measuring Sticks | [27 empty] | A
3 Yearly | No Go Zone Assessor | [21 empty] | M
3 Yearly | Safe to Approach SWER6 |  | M |  | A | A |  |  | A |  | M |  |  | M | A |  | A |  |  |  |  | A | [5 empty] | A | A | A | A | A | A
3 Yearly | Safe to Climb |  | M |  | A | A |  |  | A |  | M | [7 empty] | M
3 Yearly | Traffic Management - Traffic Control |  | M | A | M | M | M | A | M | A | M |  | A | M | A | A | M | A | M | A | M |  |  | M |  | A | A | M | A | M | M | M | M
3 Yearly | Traffic Management - Traffic Guidance Schemes |  | M | A | M | M | M | A | M | A | M |  | A | M | A | A | M | A | M | A | M |  |  | M |  | A | A | M | A | M | M | M | M
3 Yearly | VESI Environmental Framework |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
3 Yearly | VESI Safety Framework |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
3 Yearly | Wash HV Insulators |  | A | A
Authority Training* 8
3 Yearly | Apply access procedures to work on or near electrical network infrastructure (Receive Access Permit) | UETTDRRF09B | M | M | M | M | M | M | M | M | M | M | [7 empty] | A |  |  | M | A |  | M | M | A3 |  |  | A
3 Yearly | Enter Enclosures | [11 empty] | A | M | A | A | A | M | A |  |  | M |  | A |  |  |  | A3 | M | A
3 Yearly | High Voltage Switching15 | [9 empty] | M | M
3 Yearly | Make Application for |  | A | A | A | A | A | A | A | A | [12 empty] | M |  |  |  |  | A | A |  | A
3 Yearly | Receive Sanction For Testing | [7 empty] | A | A
Other
| Australian ESI Skills Passport |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
| Network Operator Induction |  | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M |  | M | M | M | M | M | M | M | M
Legend
M - Mandatory
A - Additional - If employee requires this training for the works
being performed and has initial training, refresher is mandatory
* Following the completion of training apply to your applicable Network Operator/s for Authorisation
Notes
1 - Refers to a National qualification or recognised equivalents including enterprise training (e.g. SECV). If the evidence is a recognised equivalent this shall be reviewed by the Network Operator
2 - Holder of a Certificate of Competence issued by an RTO
3 - Workers to complete either Auth to Enter or Auth to receive depending on work being performed
4 - For tasks that involve excavation for the purposes of installing underground infrastructure this module is Mandatory
5 - Workers shall hold either a Certificate III in ESI - Power Systems - Transmission Overhead1 or Certificate III in Electrotechnology Electrician1 or a Meter Technician Certificate of Proficiency
6 - This is not a Mandatory requirement on the CitiPower and Jemena Networks
7 - Where a person performs multiple roles they shall undertake the mandatory training for each of those roles
8 - For the training and assessment criteria refer to VESI training and assessment reference material on the VESI website
9 - Entry pathway to this role maybe varied and shall be determined by the Network Operator
10 - Only requires learning outcome 1 - 'Identify the SAD to HV and LV apparatus for persons' for this type of work
11 - The Cable Jointer (Restricted) role is for existing cable Jointers who undertake this work only. All new Cable Jointers shall undertake Certificate III in ESI - Cable Jointing
12 - If a worker has successfully completed Provide First Aid (HLTAID003) or Apply First Aid (HLTFA311A) within the same year then equivalence is given. Note: HLTAID003 and HLTFA311A have a recommended 3 yearly refresher, therefore
CPR & First Aid in an ESI environment shall be completed in the following years prior to undertaking HLTAID003
13 - Not required for technicians whose duties are limited to Current Transformer (CT) metering work and are not required to undertake installation connections
14 - Mandatory for Pole Erection Recovery Unit (PERU) operators replacing poles with HV live work crews
15 - Training/assessment for HV switching is dependant on the Authorisation class (E.g. RSO, DSO, DS, ZSS) issued by the Network Operator. Refer to the VESI Skills and Training Guideline for HV switching training associated with the relevant Authorisation class
16 - Making LV dead is mandatory for the Cable jointers who have the National Competency Standard Unit in Low Voltage field Switching

## Variables (hidden)
[5 empty] | Right Footer | November 2014
Position | Position subgroup | Position Abr | Sheet Name
| Lineworker - Distribution |  | Lineworker - Distribution | 1
| Lineworker - Transmission |  | Lineworker - Transmission | 1
Cable Jointer | Cable Jointer (Restricted) |  | Cable Jointer (Restricted) | 1
Cable Jointer | Cable Jointer |  | Cable Jointer | 1 |  |  | Employee Name | Employee Name
Electrical Fitter | Electrical Fitter - Distribution Substations |  | Electrical Fitter - Distributi | 1 |  |  | Date Attended | Date Attended
Electrical Fitter | Electrical Fitter - Terminal & Zone Substations |  | Electrical Fitter - Terminal & | 1 | Date Attended | Expiry
Tester | Tester - Distribution Assets |  | Tester - Distribution Assets | 1 |  | 0
Tester | Tester - Terminal & Zone Substations |  | Tester - Terminal & Zone Subst | 1 |  | 0
| HV Switching Operator - Distribution |  | HV Switching Operator - Distri | 1 |  | 0
| HV Switching Operator - Terminal & Zone Substations |  | HV Switching Operator - Termin | 1 |  | 0
Metering | Metering Technician |  | Metering Technician | 1 |  | 0
| Asset Inspector |  | Asset Inspector | #REF! |  | 0
| Auditor - General |  | Auditor - General | 1 |  | 0
| Auditor - Underground |  | Auditor - Underground | 1 |  | 0
| Civil Worker |  | Civil Worker | 1 |  | 0
Communications Worker | Communications Worker - HV LV Enclosures |  | Communications Worker - HV LV | 1 |  | 0
Communications Worker | Communications Worker - Pole Work |  | Communications Worker - Pole W | 1 |  | 0
Communications Worker | Communications Worker - Tower |  | Communications Worker - Tower | 1 |  | 0
Communications Worker | Communications Worker - Underground Work |  | Communications Worker - Underg | 1 |  | 0
| Electrical Inspector |  | Electrical Inspector | 1 |  | 0
| No Go Zone Assessor |  | No Go Zone Assessor | 1 |  | 0
Plant Operator | Plant Operator - ESI Worker |  | Plant Operator - ESI Worker | 1 |  | 0
Plant Operator | Plant Operator - Day Hire |  | Plant Operator - Day Hire | 1 |  | 0
| Rigger - General |  | Rigger - General | 1 |  | 0
| Rigger - Towers |  | Rigger - Towers | 1 |  | 0
| Supervisor Team Leader |  | Supervisor Team Leader | 1 |  | 0
| Technical Officer |  | Technical Officer | 1 |  | 0
| Trade Assistant |  | Trade Assistant | 1 |  | 0
| Vegetation - Cutter working from EWP |  | Vegetation - Cutter working fr | 1 |  | 0
| Vegetation - Ground Crew |  | Vegetation - Ground Crew | 1 |  | 0
| Vegetation - Tree Climber |  | Vegetation - Tree Climber | 1 |  | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0